To order this product, complete this page, then provide the information to your Itron Sales Representative. Some combinations of features may be not available, refer to the Technical Leaflet (or press F1 when entering data).

| P/O #: | Item #: | Qty: |
| --- | --- | --- |
| Tender/Offer #: | Customer: | Country: |
| Product description: | Customer part n°: |
| Body Size: (select one) Actuator size: Ø (select one) Sensing line: (select one) for pumax > 4 bar external is recommended Safety functionalities (optional) (select one) SI = safety diaphragm Orifice dimension (select one) Installation position no. (TIB 76) (select one, without selection: Pos 2) Kind of Gas Density (kg/Sm³) |
| Strength test and settings Refer to Technical Leaflet for specific (spring) set ranges – indicate set point(s) and select unit: Strength requirements PS = Functional requirement Pu max = bar (refers to the orifice) Reg. set point pds: spring range Wds - spring no: OPSO set point pdso: spring range Wdso - spring no: UPSO set point pdsu: spring range Wdsu - spring no: SRV set point standard pds + 30 mbar, if special requirement please define pds + *** |
| Coating : (select one) |
| If the construction you need is not offered on this page, describe here specialties: |
| Marking type: (select one) Units: (select one) |
| Documents and certificates: Instruction manual in 4 languages (English, French, German, Russian, Dutch) Inspection certificate according EN10204 type 3.1 Other***: |
| Itron Sales office: Delivery: weeks ARO agreed with KA Customer Service Other remarks: |
| Name: Date: |