To order this product, complete this page, then provide the information to your Itron Sales Representative. Some combinations of features may be not available, refer to the Technical Leaflet (or press F1 when entering data).

| P/O #: | Item #: | Qty: |
| --- | --- | --- |
| Tender/Offer #: | Customer: | Country: |
| Product description: | Customer part n°: |
| Body Size: (select one) Material: S.G. cast iron Flanges PN 16 Actuator size: Ø (select one) Orifice: Ø (select one) with flow stabilizer for smaller Qmin (with Qmax reduction at about 15%) Sensing line: Accessories: Silencer Safety shutoff valve (optional) (select one) Type and version: (select one) SSV accessories: Position indicator Type: (select one) |
| Strength test and settings Refer to Technical Leaflet for specific (spring) set ranges – indicate set point(s) and select unit: Strength requirements PS = Functional requirement Pu max = 5 bar (standard),if higher (please mark with a cross) and specify Pu max = Reg. set point pds: spring range Wds - spring no: OPSO set point pdso: spring range Wdso - spring no: UPSO set point pdsu: spring range Wdsu - spring no: |
| Coating : (select one) |
| If the construction you need is not offered on this page, describe here specialties: |
| Marking type: (select one) Units: (select one) |
| Documents and certificates: Instruction manual in 4 languages (English, French, German, Russian) Material certificate according (if yes, choose) EN10204 type 2.2 EN10204 type 3.1 Inspection certificate according EN10204 type 3.1 Other***: |
| Itron Sales office: Delivery: weeks ARO agreed with KA Customer Service Other remarks: |
| Name: Date: |